
[image: image1.jpg]



SITE WALK REPORT

30 Warren
Present: Amy Green, Tim Pearson, Sarah Seaward, Carl Melberg, Casey Kaldenberg (owner)
Date: May 8, 2024
__________________________________________________________________

We walked the site so that more Commissioners could see the area of the Enforcement Order. Mr. Pearson relayed that, despite having been told that they should cease work, the contractor had completed the walkway work, including grading and seeding (Figure 1). Since the short retaining wall for the sidewalk cut into the hill for the septic system, Mr. Kaldenberg was advised that he should check on with the Board of Health. 
The back yard was then viewed. The owner indicated that he had been cleaning up the area and had pulled a lot of debris, including pallets and rugs, out of the area. A river rock drainage swale (Figure 4) had been constructed, including plastic edging to keep the stone in place. The entire area appeared to have been regarded and it was not clear if material had been brought in. A pallet “walkway” (Figure 3), apparently mostly resting on an old railroad tie beam had been constructed to allow access across the wet area. The owner is in the process of replacing the old gutters, and he was advised that the current set up (Figure 2), with the outfalls (including from a sump) discharging across and eroding the unstabilized soils, would need to be improved and permitted.

Mr. Kaldenberg will attend the May 14th Conservation Commission meeting. In the mean time he will add erosion controls, either straw bales or wattles, to control runoff from the gutter/sump pipes. He was advised that he should hire an engineer/wetland scientist to determine the original limit of the wetlands and design restoration, including consideration of sump pump and gutter discharges.

Figure 1. Sidewalk had been completed

[image: image2.jpg]



Figure 2. Overview of work in back yard

[image: image3.jpg]



Figure 3. Notice erosion at end of green pipe on left; pallets used to create walkway to pre-existing sheds

[image: image4.jpg]



Figure 4. River rock used to create drainage swale through middle of back yard.

[image: image5.jpg]



Littleton Conservation Commission


P.O. Box 1305


37 Shattuck Street


Littleton, MA 01460


Phone: 978 540-2428	FAX: 978 952 2321


E-Mail: agreen@littletonma.org











